Request for proposal

Fabrication and Installation of Metal Class C Grating

Guyana Shore Base Inc. hereby invites interested companies to submit proposals for the  Fabrication and Installation of Metal Grating.

Scope of Works

Fabrication

- Fabrication of Class C Grating Panels in accordance with the Drawing EDGD-A-105.

- The quantity of grating panels is to be sufficient to cover the external Northern, Eastern and Western building boundaries as per Drawing P7W-A-101. Site survey is required.

- All materials, equipment and manpower for fabrication are to be supplied by the contractor.

- Gratings are to be fabricated from material that will ensure Class C load bearing capacity of gratings.

- Coated with red oxide primer to a minimum DFT of 80 µm.

Installation

- To be installed as per site layout shown in Drawing P7W-A-101.

- Transportation of fabricated gratings to site is to be done by the contractor.

- Contractor is to supply onsite labour, materials, and equipment to facilitate any on site modifications required during installation.

- Daily housekeeping and proper disposal of waste materials during installation and at the end of the project is a must.

- Adherence to GYSBI’s guidelines and policies during operation on site is a must.

Certification

- 40% random testing of grating panels to show that the fabricated gratings are in conformity with Class C grating loading specification.

- Certification of conformity is to be supplied.

Instructions to Bidders

- Proposals are to be submitted along Valid Business Registration or equivalent, Valid GRA & NIS Compliance, Local Content Certificate.

- Proposal and documents must be submitted to the e-mail address below on or before March 1st, 2023.

Email: tenders@gysbi.com