Request for proposal

Electrical Installation of GSB Power Station

**Description of Works**

**General**: Provision of service for the Electrical installation of GSB Power Station

**Work:**

Includes the installation of material/equipment listed below:

|  |  |  |
| --- | --- | --- |
| **Description** | **QTY.** | **UNITS** |
| 480/240 Transformer | 1 | No. |
| Distribution Panel | 1 | No. |
| High Bay Lights. | 11 | No. |
| 2ft LED Lights | 3 | No. |
| Wall Pack | 15 | No. |
| Emergency Light | 7 | No. |
| Lighted Exit sings | 3 | No. |
| 125V Receptacles | 9 | No. |
| 240V Receptacles | 6 | No. |

Installation shall be surface mount, utilizing MC cables.

**Contractor’s Requirements.**

* All Tools and manpower are to be supplied by the contractor.
* Daily housekeeping and proper disposal of waste materials during installation and at the end of the project.
* Strick Adherence to GYSBI’s guidelines and policies during operation on site.

**Deliverables:**

* Provision of AS-Built Drawings and Panel Schedule.
* Earthing Resistance Test Report.

**GYSBI Responsibility**

The GYSBI will provision all materials.

**Instructions to Bidders**

1. Proposals are to be submitted along ***Valid Business Registration or equivalent, Valid GRA & NIS Compliance, Local Content Certificate.***
2. Proposal and documents must be submitted to the e-mail address below ***on or before May 31st, 2023.***

Email: **tenders@gysbi.com**